## Takeoff
Quantity Takeoff — from Liberty Mutual Xactimate Sketches (Claim 061004792)
Source: 'Floorplan' recap pages 25-27 of contractor estimate, sketches dated 07/10/2026. 8'-0" flat ceilings throughout per room headers.
Floor (sketch name) | Walls SF | Walls+Ceilings SF | Floors SF | Floor Perim LF | Ceilings SF | Ceiling Perim LF
1st floor | 3331.28 | 4272.1 | 940.7 | 297.99 | 940.82 | 406.27
2nd floor 2 | 3576.6 | 4532.97 | 956.28 | 328.28 | 956.37 | 447.15
3rd floor 2 | 1765.3 | 2307.03 | 541.73 | 155.59 | 541.73 | 212.03
B1 2 (bsmt) | 2525.29 | 3471.38 | 946.09 | 205.97 | 946.09 | 315.71
TOTAL (incl basement) | 11198.47 | 14583.48 | 3384.8 | 987.83 | 3385.01 | 1381.16
TOTAL above grade | 8673.18 | 11112.1 | 2438.71 | 781.86 | 2438.92 | 1065.45
Derived / assumption-driven quantities (yellow = confirm in field)
Quantity | Value | Unit | Basis / Question ref
Wall+ceiling surface, above grade | 11112.1 | SF | Actual takeoff
Plaster replacement scope factor | 0.85 | x | Q-A3: % of surface actually failed — Liberty scoped ~18%; owner premise is ~100%; set after demo
Plaster surface to replace | 9445.285 | SF | surface x scope factor
Electrical openings (count in field) | 95 | EA | Q-E4: placeholder = 2.5/100 SF floor + code adds; COUNT ACTUAL
Radiator count | 12 | EA | Q-M3: HVACi carried 'radiator replacement' LS — count units, note EDR sizes
Interior door count | 18 | EA | Q-A9: count; note stain vs paint grade
Trim: base/base shoe | 781.86 | LF | Floor perimeter proxy; confirm profile stack (Q-A7)
Trim: crown | 1065.45 | LF | Ceiling perimeter proxy; not all rooms have crown (Q-A7)
Oak flooring | 2160.05 | SF | Liberty carried 2,160 SF tear-out+replace incl 10% waste — validate

## Means Grid
RS Means Pricing Grid — with Low/High Planning Values
Est Low/High are 2026 planning unit costs (installed, national) for orientation BEFORE the Means lookup. Fill cols J-P from RS Means; CCI applies to Means path only. Gray ALT rows = drywall alternate, excluded from totals.
Detroit CCI (confirm — Q-G5): |  |  |  | 1.05
CSI Section | Line Item | Unit | Qty | Est $/u Low | Est $/u High | Ext $ Low | Ext $ High | Means Line # | Crew | Daily Output | Bare Mat | Bare Labor | Bare Equip | Incl O&P $/u | CCI-Adj $/u | Means Ext $ | Notes
GENERAL CONDITIONS & DEMOLITION
01 54 23 | Temporary scaffolding/ladders, stair & 3rd-floor work | MO | 3 | 800 | 2000 | 2400 | 6000 | [9 empty] | Duration from Q-G3 schedule
02 41 19 | Selective demo — plaster & lath, walls/ceilings | SF | 9445.285 | 2 | 4 | 18890.57 | 37781.14 | [9 empty] | Gut wall/ceiling plaster incl lath
02 41 19 | Debris hauling & disposal, dumpsters | EA | 8 | 450 | 700 | 3600 | 5600 | [9 empty] | Q-G2 — Liberty carried ONE 10-yd
02 83 19 | Lead-safe containment (RRP) premium | SF | 9445.285 | 0.5 | 1.5 | 4722.6425 | 14167.9275 | [9 empty] | Pre-1978; Q-S4 XRF sets scope
02 26 23 | Asbestos survey + abatement allowance | LS | 1 | 800 | 8000 | 800 | 8000 | [9 empty] | Q-S3 — high end if lagging positive
02 87 13 | Antimicrobial treatment, exposed cavities | SF | 2438.71 | 1 | 3 | 2438.71 | 7316.13 | [9 empty] | Q-S2 hygienist sets actual SF
STRUCTURAL / ROUGH CARPENTRY
06 11 10 | Joist sistering allowance, saturated members | EA | 10 | 150 | 400 | 1500 | 4000 | [9 empty] | Q-S1 probe count after demo
06 11 10 | Attic framing/sheathing repair at burst | SF | 100 | 8 | 20 | 800 | 2000 | [9 empty] | Q-S1 measure damaged area
06 16 23 | Subfloor/underlayment repair | SF | 300 | 3 | 7 | 900 | 2100 | [9 empty] | Beyond Liberty's felt-only line
MECHANICAL (Div 22/23)
23 52 33 | Cast-iron gas boiler, ~210 MBH, installed | EA | 1 | 9000 | 14000 | 9000 | 14000 | [9 empty] | HVACi carried $8,429 boiler line — low
23 82 29 | Cast-iron radiator, remove & replace | EA | 12 | 900 | 1800 | 10800 | 21600 | [9 empty] | HVACi: $15,472 LS all units (~$1,290/EA @12)
23 21 13 | Hydronic piping repairs/reconnection | LS | 1 | 1500 | 4000 | 1500 | 4000 | [9 empty] | Q-M2 pipe material/condition
22 11 16 | Domestic supply line repair at attic + valves | LS | 1 | 1500 | 3500 | 1500 | 3500 | [9 empty] | Cause of loss
22 07 19 | Pipe insulation, attic runs | LF | 60 | 8 | 15 | 480 | 900 | [9 empty] | Q-M4 measure runs
ELECTRICAL (Div 26)
26 05 19 | K&T rewire — branch circuits, walls open | SF | 3384.8 | 8 | 14 | 27078.4 | 47387.2 | [9 empty] | Q-E1: basis incl basement; open walls = low end
26 24 16 | Panelboard 200A + service upgrade | EA | 1 | 2500 | 4500 | 2500 | 4500 | [9 empty] | Q-E2 service size/location
26 27 26 | Devices & plates (period style premium) | EA | 95 | 25 | 60 | 2375 | 5700 | [9 empty] | Q-E4 count; Q-E5 style
26 51 13 | Light fixtures, rem/reset or replace | EA | 12 | 100 | 250 | 1200 | 3000 | [9 empty] | Count (Q-E4)
28 46 21 | Smoke/CO interconnected, code | EA | 8 | 100 | 200 | 800 | 1600 | [9 empty] | MI code, per floor + bedrooms
ARCHITECTURAL FINISHES (Div 06/08/09)
09 22 36 | Wood/metal lath, new | SF | 9445.285 | 3.5 | 5.5 | 33058.4975 | 51949.0675 | [9 empty] | Q-A2 lath type; Liberty $3.69-4.07
09 23 20 | Gypsum plaster, 3-coat on lath, walls & clgs | SF | 9445.285 | 7 | 14 | 66116.995 | 132233.99 | [9 empty] | Liberty $6.82-7.80 = below market
09 29 10 | ALT: 1/2" drywall hung/taped/finished L4 | SF | 9445.285 | 2.5 | 4 | 23613.2125 | 37781.14 | [9 empty] | Alternate path — excluded from totals
09 23 20 | ALT: veneer skim over drywall | SF | 9445.285 | 1.5 | 3 | 14167.9275 | 28335.855 | [9 empty] | Pairs with drywall ALT — excluded
09 91 23 | Prime + 2 coats, walls & ceilings | SF | 11112.1 | 1.5 | 3 | 16668.15 | 33336.3 | [9 empty] | Full repaint; Liberty $1.37-1.52
06 22 13 | Base/shoe/casing rem-reset & refinish | LF | 781.86 | 6 | 12 | 4691.16 | 9382.32 | [9 empty] | Q-A7 profiles; stain vs paint grade
06 22 13 | Crown molding rem-reset & refinish | LF | 1065.45 | 6 | 12 | 6392.7 | 12785.4 | [9 empty] | Q-A7 which rooms have crown
08 14 33 | Interior doors — rem/reset, refinish, replace mix | EA | 18 | 150 | 600 | 2700 | 10800 | [9 empty] | Q-A9 replace vs refinish mix
09 64 29 | Oak strip flooring 2-1/4" #1 common, R&R | SF | 2160.05 | 12 | 18 | 25920.6 | 38880.9 | [9 empty] | Liberty $12.06 + $2.08 diagonal ≈ $14.14
09 64 29 | Sand, stain, 2-ct poly, dustless | SF | 2160.05 | 4 | 8 | 8640.2 | 17280.4 | [9 empty] | Liberty $9.21 — above typical, keep it
09 30 13 | Ceramic tile walls, bathroom R&R + cement bd | SF | 280 | 18 | 30 | 5040 | 8400 | [9 empty] | Liberty $15.61 tile + $4.72 board ≈ $20.33
12 32 16 | Kitchen/pantry cabinetry & counters R&R | LS | 1 | 5000 | 9000 | 5000 | 9000 | [9 empty] | Liberty ~$5.9K; verify LF Q-A10
01 74 23 | Final clean | SF | 3384.8 | 0.5 | 1 | 1692.4 | 3384.8
FURNISHINGS / CONTENTS (Div 12)
12 00 00 | Pack-out, inventory, 3-mo storage, pack-back | LS | 1 | 3500 | 9000 | 3500 | 9000 | [9 empty] | Coverage C (Q-F1)
12 24 13 | Window treatments R&R | SF | 350 | 4 | 8 | 1400 | 2800 | [9 empty] | Liberty carried ~$1.2K blinds
| TOTAL — plaster (like-kind) path, ALT rows excluded |  |  |  |  | 274106.025 | 532385.575 | [8 empty] | 0
| TOTAL — drywall+skim ALT path (info) |  |  |  |  | 212711.6725 | 414319.5125
| Liberty Mutual RCV (for reference) |  |  |  |  | 179578.08 | [10 empty] | Direct $148,026 + tax + 10/10 O&P. Est totals above are direct-cost basis — add ~26% (tax+O&P) to compare.

## Questions
Field Questions — with Dollar Swing
Swing Low/High = how much the answer can move the claim (direct cost). Sort your field time by the Swing High column. Orange = >$10K potential.
ID | Question | Why it matters / feeds | Swing $ Low | Swing $ High | Answer
GENERAL & PROJECT CONDITIONS
Q-G1 | Occupied during repairs, or vacant? ALE claim active? | Occupied-building factors; phasing/protection cost | 0 | 8000
Q-G2 | Site logistics: dumpster placement, street permit, staging, alley access? | Liberty carried ONE 10-yd dumpster; full demo needs 6-10 + possible street occupancy permit | 2500 | 6000
Q-G3 | Schedule/phasing? Winter work with boiler dead = temporary heat? | Temp heat $1.5-3K/winter month; scaffolding duration | 0 | 9000
Q-G4 | GC vs self-perform? Union or open shop? | Detroit union vs open-shop labor spread 20-40% on ~$100K labor | 0 | 30000
Q-G5 | Current RS Means Detroit CCI (2026, residential)? | Multiplier on entire Means comparison (±5% ≈ ±$10K) | -10000 | 10000
Q-G6 | Virginia Park historic district review required? | HDC can MANDATE like-kind plaster → converts drywall scope to plaster scope | 0 | 60000
STRUCTURAL & ENVIRONMENTAL
Q-S1 | Post-demo: joists/studs rotted or crushed? Attic sheathing damage SF? | Sistering EA + sheathing SF — currently pure allowance | 1000 | 12000
Q-S2 | Hygienist/IICRC: visible mold in cavities? Affected SF? Moisture map? | 4 months wet. Remediation + retesting; check mold sublimit | 0 | 25000
Q-S3 | Asbestos: plaster + boiler pipe lagging tested? | Positive lagging = licensed abatement before ANY boiler work | 800 | 12000
Q-S4 | Lead XRF: which surfaces positive? | RRP containment SF; fines for non-compliance are contractor's problem but cost is claimable | 4000 | 15000
MECHANICAL
Q-M1 | Boiler venting: chimney liner condition? Gas line sized for 210 MBH? | Liner $2-4K not in HVACi quote | 0 | 4000
Q-M2 | Distribution piping steel or copper? Splits beyond radiators? | Hidden riser splits = open scope inside walls | 0 | 8000
Q-M3 | Radiator count + EDR; how many actually cracked? | HVACi carried ALL at $15,472 — salvageable units cut cost; more units raise it | -5000 | 6000
Q-M4 | LF of attic/exterior-wall pipe needing insulation? | Freeze prevention | 300 | 1200
Q-M5 | Water heater / domestic side affected? | Scope boundary | 0 | 2500
ELECTRICAL
Q-E1 | K&T extent: whole house? Which circuits live? Basement included? | THE $0 open item. Rewire basis 2,439-3,385 SF @ $8-14 | 20000 | 47000
Q-E2 | Service amperage, panel type, fuse box? Service drop condition? | 200A upgrade + DTE service work | 2500 | 6500
Q-E3 | City of Detroit inspection scheduled? Written scope? | The supplement document — no inspection, no supplement | 0 | 0
Q-E4 | Actual opening count per floor (walk & count) | 95 EA placeholder; NEC 12-ft rule adds receptacles | 2000 | 6000
Q-E5 | Period push-button devices / brass plates, or standard? | $25-60/opening premium ×~95 | 2400 | 5700
Q-E6 | K&T in insulation-contact areas (attic floor)? | Code prohibition; sequencing with insulation | 0 | 1500
ARCHITECTURAL
Q-A1 | Room-by-room tap test: which plaster is DELAMINATED vs paint-damaged? Photos per room. | THE scope question. Liberty ~2,000 SF vs potential 9,400+ SF @ ~$12-19/SF full system (lath+plaster+paint) | 30000 | 160000
Q-A2 | Lath type: wood, metal, rock lath? Plaster thickness? | Means line selection; wood lath = premium | 0 | 15000
Q-A3 | Ceiling heights really 8'-0" on floor 1? (1920s houses often 9') | 9' actual = Liberty wall SF understated ~12% on floor 1 (~500 SF surface) | 0 | 8000
Q-A4 | Ornamental plaster: crown runs, medallions, arches, coves? | Specialty pricing 5-10x flat work if present | 0 | 20000
Q-A5 | Confirm 2-1/4" #1 common oak, diagonal install, felt underlayment | Diagonal add-on ~$2/SF ×2,160 already carried — protect it | 0 | 4500
Q-A6 | Floor 3: painted softwood or oak? (Liberty primed & painted it) | Painted fir vs oak R&R = entirely different line | 0 | 6000
Q-A7 | Trim inventory per room: profile stack, stain vs paint grade, crown locations | Stain-grade refinish ≈ 2x paint-grade cost | 3000 | 12000
Q-A8 | Bathroom tile SF + bullnose; 3rd floor bath scoped correctly? | 3rd flr bath NOT tiled in Liberty scope — verify field condition | 0 | 8000
Q-A9 | Door schedule: count, type, refinish vs replace (humidity warping) | Replace $600-1,200/EA vs refinish $150 | 2000 | 9000
Q-A10 | Kitchen cabinet LF, counter material, appliances affected? | Liberty ~$5.9K; undersized if uppers/appliances hit | 0 | 7000
Q-A11 | Wall cavity insulation existing? Attic R-value? Add while open? | O&L code-upgrade candidate; $1.50-3.50/SF while open | 3500 | 8500
FURNISHINGS / CONTENTS / COVERAGE
Q-F1 | Pack-out needed? Inventory started? Storage duration? | Coverage C — absent from dwelling estimate | 3500 | 9000
Q-F2 | Ordinance & Law %? Mold sublimit? ALE limit? | Determines where rewire/insulation/mold supplements land — can cap Q-E1/Q-S2 | 0 | 0
Q-F3 | Recoverable depreciation process confirmed with claim rep? | $26,641.23 recoverable — invoice trail | 26641 | 26641
| Aggregate swing (not additive in practice — overlaps) |  | 89141 | 569041

## Reference
RS Means Assessment Conventions
BOOK: Use RS Means Residential Repair & Remodeling Cost Data 2026 for most lines (repair/remodel productivity, small-job factors). Use Building Construction Cost Data (BCCD) for the boiler and service upgrade.
LOCATION: Apply Detroit City Cost Index (CCI) — enter the current published figure in Means Grid F4. Note Means CCI ≠ Xactimate Cotality pricing basis; expect 5-15% structural divergence between the two databases even on identical scope.
O&P: Means 'Total Incl O&P' includes installing-contractor O&P only. Add GC markup (10+10 like Liberty, or your 18%) on top when comparing to the claim RCV. Liberty's RCV = direct + 6% MI tax on materials + 10% OH + 10% profit.
SMALL JOB FACTORS: Repair/remodel work in an occupied historic house warrants Means minimum-labor and cut & patch factors — do not price from new-construction productivity.
COMPARISON BASIS: Liberty pricing DB = 'Cotality Data Driven USDC — February 2026 (Michigan)(Detroit)'. When disputing a unit price, cite the Means line number + CCI; adjusters respond to sourced numbers.
PLASTER STRATEGY: Liberty's own carried unit prices (3-coat plaster $6.82/SF walls, $7.80/SF ceilings, lath $3.69-4.07/SF) are BELOW typical Means 3-coat-on-wood-lath pricing. If Means comes in higher, that supports extending THEIR unit price to a LARGER scope rather than fighting the rate — the scope (Q-A1) is where the money is.
KEY DOC FACTS: Claim 061004792 · Policy OX6720664 (American Economy Ins. Co.) · Deductible $5,000 · Coverage A $776,800 · DOL 02/26/2026 · RCV $179,578.08 · ACV $152,936.85 · Net paid $147,936.85 · Recoverable dep $26,641.23 · Adjuster: Rosanne Henrichs (509) 944-8694 · Estimator: JC Windmueller.